Replacement of existing Furnace

Common Vent

Yes

Water Heater Vent Resizing

Yes

Low Cost

High Cost

No

No

Single Family Detached		$443

Single Family Attached

Multiple Family

Technology Solution for High Cost Installations

An example of the creative and innovative response to mandatory condensing furnace standards is that major suppliers to heating contractors will develop and sell solutions.

This reduction in installation cost of $453 when run through the LCC analysis results in negative LCCs becoming positive.   The first column is the AFUE level where 92% is the DOE proposed level.

There is a concern that while the DOE condensing furnace standard is Life Cycle Cost (LCC) cost effective for the Nation and California, the impact of difficult and high installation cost furnace replacements has not been adequately accounted for in the LCC.  The DOE methodology produced the data below for use by the LCC.  Starting at the point of replacing a noncondensing furnace the correct increased cost can be found.  The percentage of national annual shipments serves to put the results in perspective.  The worst case is a cost of $1527 which is less than 1% of shipments and it is this case that the new technology reduces by over $500.