## Measure Codes Mid.Upstream HVAC
Commercial HVAC measure codes
Incentive Tiering strategy for each listed on individual sheets
Unitary <65kBtuh | Unitary >65kBtuh | WSHP | Air Cooled Package Chillers
HV241 | HA21 | HB4 | HV227
HV242 | HA22 | HB5 | HV228
HV243 | HA23 | HB6 | HV229
HV244 | HA26 | HB7 | HV230
HV245 | HA27 | HB8 | HV231
HV246 | HA34 | HB9 | HV232
HV247 | HA35 | HV233
HV248 | HA35 | HV234
HV249 | HA36 | HV235
HV250 | HA37 | HV236
HV251 | HA40 | HV237
HV252 | HA41 | HV238
HV253 | HV043 | HV239
HV254 | HV044 | Hv240
HV255 | HV045
HV256
HV257
HV258
HV259
HV260
HV261
HV262
HV263
HV264
HV265
HV266
HV267
HV268
HV269
HV270
HV271
HV272
HV273
HV274
HV275
HV276
HV277
HV278
HV279
HV280
HV281
HV282
HV283
HV284
HV285

## Unitary-Large
WP128 Measure Code (CPUC Approved) | TIER | Work Paper 128 Definition | Distributor Program
>= 5.5 tons but less than 11.3 tons |  |  | Tier | Capacity | EER | IEER | 2017 Incent.
HA34 | 1 | HA34 - UNITARY AIR COOLED 65-134KBTU/H 11.5 EER OR 12.8 IEER | 1 | >=5.4 to <11.3 tons | 11.5 | 13 | 20
HA35 | 2 | HA35 - UNITARY AIR COOLED 65-134KBTU/H 12.0 EER OR 13.8 IEER | 2 | >=5.4 to <11.3 tons | 12 | 13.8 | 40
HA36 | 3 | HA36 - UNITARY AIR COOLED 65-134KBTU/H 12.5 EER OR 14.8 IEER | 3 | >=5.4 to <11.3 tons | 12.5 | 14.8 | 60
HA37 | 4 | HA37 - UNITARY AIR COOLED 65-134KBTU/H 13.0 EER OR 17.0 IEER | 4 | >=5.4 to <11.3 tons | 13 | 18 | 150
>=11.3 tons but less than 20 tons
HA21 | 1 | HA21 - UNITARY AIR COOLED 135-239KBTU/H 11.5 EER OR 12.3 IEER | 1 | >=11.3 to < 20 tons | 11.5 | 12.5 | 20
HA22 | 2 | HA22 - UNITARY AIR COOLED 135-239KBTU/H 12.0 EER OR 13.0 IEER | 2 | >=11.3 to < 20 tons | 12 | 13.3 | 40
HA23 | 3 | HA23 - UNITARY AIR COOLED 135-239KBTU/H 12.5 EER OR 13.6 IEER | 3 | >=11.3 to < 20 tons | 12.5 | 14 | 60
NA | NA | NA | 4 | >=11.3 to < 20 tons | 13 | 17.5 | 200
>=20 tons but less than 63.3 tons
NA | NA | NA | 1 | >=20 to <63.3 tons | 10.5 | 12 | 50
HA26 | 2 | HA26 - UNITARY AIR COOLED 240-760KBTU/H 10.8 EER OR 12 IEER | 2 | >=20 to <63.3 tons | 10.8 | 12.5 | 75
HA27 | 3 | HA27 - UNITARY AIR COOLED 240-760KBTU/H 11.1 EER OR 13.1 IEER | 3 | >=20 to <63.3 tons | 11.1 | 13.5 | 125
HV043 | 4 | HV043 - 15 IEER OR 11.6 EER PKG OR SPLIT 3 PHASE AIR COOLED AC or HP | 4 | >=20 to <63.3 tons | 11.6 | 15 | 135
HV044 | 5 | HV044 - 17 IEER OR 12.0 EER PKG OR SPLIT 3 PHASE AIR COOLED AC or HP | NA | >=20 to <63.3 tons | NA | NA | NA
>63.3 tons
NA | NA | NA | 1 | >=63.3 tons | 10.2 | 12 | 50
HA40 | 2 | >=760 kBtu/hr 10.2 EER or 12.8 IEER, UNITARY AIR COOLED | 2 | >=63.3 tons | 10.8 | 12.8 | 75
HA41 | 3 | >=760 kBtu/hr 10.4 EER or 14 IEER, UNITARY AIR COOLED | 3 | >=63.3 tons | 11.4 | 14 | 125
HV045 | 4 | >=760 kBtu/hr 10.7 EER TO 16 IEER, UNITARY AIR COOLED | 4 | >=63.3 tons | 12 | 16 | 150

## Unitary-Small
MC | Capacity | Tier | SEER | EER | Notes | Incentive /ton
HV241 | <55kBtuh | 1 | 15 SEER | (12 EER) | Packaged Air Conditioner | 100
HV242 | <55kBtuh | 2 | 16 SEER | (12.4 EER) | Packaged Air Conditioner | 150
HV243 | <55kBtuh | 3 | 17 SEER | (13 EER) | Packaged Air Conditioner | 200
HV244 | <55kBtuh | 4 | 18 SEER | (14 EER) | Packaged Air Conditioner | 250
HV245 | 55to65kBtuh | 1 | 15 SEER | (12 EER) | Packaged Air Conditioner | 100
HV246 | 55to65kBtuh | 2 | 16 SEER | (12.4 EER) | Packaged Air Conditioner | 150
HV247 | 55to65kBtuh | 3 | 17 SEER | (13 EER) | Packaged Air Conditioner | 200
HV248 | 55to65kBtuh | 4 | 18 SEER | (14 EER) | Packaged Air Conditioner | 250
HV249 | <45kBtuh | 1 | 15 SEER | (12.5 EER) | Split System Air Conditioner | 100
HV250 | <45kBtuh | 2 | 16 SEER | (13 EER) | Split System Air Conditioner | 150
HV251 | <45kBtuh | 3 | 17 SEER | (13.5 EER) | Split System Air Conditioner | 200
HV252 | <45kBtuh | 4 | 18 SEER | (14 EER) | Split System Air Conditioner | 250
HV253 | 45to55kBtuh | 1 | 15 SEER | (12.5 EER) | Split System Air Conditioner | 100
HV254 | 45to55kBtuh | 2 | 16 SEER | (13 EER) | Split System Air Conditioner | 150
HV255 | 45to55kBtuh | 3 | 17 SEER | (13.5 EER) | Split System Air Conditioner | 200
HV256 | 45to55kBtuh | 4 | 18 SEER | (14 EER) | Split System Air Conditioner | 250
HV257 | 55to65kBtuh | 1 | 15 SEER | (12.5 EER) | Split System Air Conditioner | 100
HV258 | 55to65kBtuh | 2 | 16 SEER | (13 EER) | Split System Air Conditioner | 150
HV259 | 55to65kBtuh | 3 | 17 SEER | (13.5 EER) | Split System Air Conditioner | 200
HV260 | 55to65kBtuh | 4 | 18 SEER | (14 EER) | Split System Air Conditioner | 250
HV261 | <55kBtuh | 1 | 15 SEER | (12 EER) | Packaged Heat Pump | 100
HV262 | <55kBtuh | 2 | 16 SEER | (12.4 EER) | Packaged Heat Pump | 150
HV263 | <55kBtuh | 3 | 17 SEER | (13 EER) | Packaged Heat Pump | 200
HV264 | <55kBtuh | 4 | 18 SEER | (14 EER) | Packaged Heat Pump | 250
HV265 | 55to65kBtuh | 1 | 15 SEER | (12 EER) | Packaged Heat Pump | 100
HV266 | 55to65kBtuh | 2 | 16 SEER | (12.4 EER) | Packaged Heat Pump | 150
HV267 | 55to65kBtuh | 3 | 17 SEER | (13 EER) | Packaged Heat Pump | 200
HV268 | 55to65kBtuh | 4 | 18 SEER | (14 EER) | Packaged Heat Pump | 250
HV269 | <55kBtuh | 1 | 15 SEER | (12.5 EER) | Split System Heat Pump | 100
HV270 | <55kBtuh | 2 | 16 SEER | (13 EER) | Split System Heat Pump | 150
HV271 | <55kBtuh | 3 | 17 SEER | (13.5 EER) | Split System Heat Pump | 200

## WSHP
MC | Capacity | Tier | EER | Notes | Incentive /ton
HB4 | <65kBtu/hr | 1 | 14 | Water-source heat pump | 130
HB5 | <65kBtu/hr | 2 | 15 | Water-source heat pump | 260
HB6 | <65kBtu/hr | 3 | 16 | Water-source heat pump | 350
HV233 | <65kBtu/hr | 4 | 17 | Water-source heat pump | 440
HV234 | <65kBtu/hr | 5 | 18 | Water-source heat pump | 530
HB7 | 65-135kbtu/hr | 1 | 14 | Water-source heat pump | 120
HV235 | 65-135kbtu/hr | 2 | 15 | Water-source heat pump | 170
HV236 | 65-135kbtu/hr | 3 | 16 | Water-source heat pump | 240
HV237 | 65-135kbtu/hr | 4 | 17 | Water-source heat pump | 310
HV238 | 65-135kbtu/hr | 5 | 18 | Water-source heat pump | 380
HB8 | 135-240kbtu/hr | 1 | 14 | Water-source heat pump | 120
HV239 | 135-240kbtu/hr | 2 | 15 | Water-source heat pump | 190
HB9 | >240kbtu/hr | 1 | 13 | Water-source heat pump | 120
HV240 | >240kbtu/hr | 2 | 14 | Water-source heat pump | 210

## ACC
MC | Capacity | Tier | EER | IPLV | Notes | Incentive /ton
HV227 | <150 tons | 1 | 10.1 | 14.3 | Air-cooled chiller | 25
HV228 | <150 tons | 2 | 10.9 | 15 | Air-cooled chiller | 44
HV229 | <150 tons | 3 | 11.5 | 16 | Air-cooled chiller | 72
HV230 | ≥150 tons | 1 | 10.1 | 14.3 | Air-cooled chiller | 25
HV231 | ≥150 tons | 2 | 10.9 | 15 | Air-cooled chiller | 44
HV232 | ≥150 tons | 3 | 11.5 | 16 | Air-cooled chiller | 72