## Sheet1
survey | building | systemty | zone | fmake | fmodel | Furnace input kBTU
54 | Single Family | Single Split AC w Furnace |  | Carrier | 58STX090-16 | 88
43 | Apartment | Combined Hydronic |  | Aspen | FFW 27 24+X3-017 | 20
69.1 | Single Family | Multiple Splits w Furnaces | d | Aire-Flo | AF 80MPA 075B4B | 75
19.2 | Single Family | Multiple Splits w Furnaces | s | Goodman | GMS 80704 BXBA | 70
58 | Apartment | Heat Pump |  | First Company | 31 HX3-240 | 40.24
20 | Single Family | Package Rooftop Unit |  | Goodman | GPG 13360701AA | 69
60 | Town House | Single Split AC w Furnace |  | Goodman | GMS 80704 BXBA E+ | 70
79.2 | Single Family | Multiple Splits w Furnaces | u | Aire-Flo | AF 80MPA 050B3B | 50
51 | Apartment | Single Split AC w Furnace |  | York | GY9S 060 B12 DH11J | 60
34 | Single Family | Single Split AC w Furnace |  | Carrier | 58STX110-22 | 105
4 | Town House | Single Split AC w Furnace |  | Bryant | 31QJSV036070 | 66
10.1 | Single Family | Multiple Splits w Furnaces | u | Weather King | 80 PJ 07 NBR 01 | 75
69.2 | Single Family | Multiple Splits w Furnaces | u | Aire-Flo | AF 80MPA 075B4B | 75
52 | Apartment | Heat Pump |  | Aspen | FCB 0437+X3-000 | 53
23 | Modular | Furnace Only |  | Coleman | DGAA 056 BDTB | 56
2 | Apartment | Heat Pump |  | First Company | 19 HXO-240 | 18
37 | Single Family | Single Split AC w Furnace |  | York | LY8S 080 A12 UH11C | 80
70 | Town House | Furnace Only |  | Kelvinator (Nordyne) | GL1RA 05 4N-12 | 54
61 | Apartment | Combined Hydronic |  | First Company | 24 CDXQ | 18.4
76 | Apartment | Packaged Terminal AC |  | Frigidaire
1 | Town House | Single Split AC w Furnace |  | Weather King | 80 PJ 07 NAR 01 | 75
77 | Town House | Heat Pump |  | Carrier | FC4DNF 036 | 36
12 | Apartment | Combined Hydronic |  | First Company | 37 CDXQ | 31.6
45 | Town House | Combined Hydronic |  | First Company | 36 HBQB | 49.5
50.1 | Single Family | Multiple Splits w Furnaces | s | Rheem | 80 PJ 05 NAR 01 | 50
21 | Town House | Single Split AC w Furnace |  | Lennox | G40 UH-36A-070X-15 | 66
5 | Apartment | Packaged Terminal AC |  | Friedrich
33 | Apartment | Combined Hydronic |  | Aspen | FWB 30 24+X3-000 | 24.6
18 | Single Family | Single Split AC w Furnace |  | Trane | TUE 1B080 A9481AA 2603AP | 80
46 | Apartment | Electric Resistance Wall Heaters
57 | Single Family | Single Split AC w Furnace |  | Aire-Flo | AF 80MPA 075B-48 | 75
48 | Single Family | Hydronic Floor No Cooling
44 | Single Family | Hydronic Floor No Cooling
67.2 | Single Family | Multiple Splits w Furnaces | d | Aire-Flo | AF 80MPA 075B-48 | 75
14 | Town House | Single Split AC w Furnace |  | Goodman | GMS 80704 BXBA | 70
75 | Single Family | Furnace Only |  | Heil | N8MPL075B12B1 | 75
19.1 | Single Family | Multiple Splits w Furnaces | L | Goodman | GMH80453AXAB | 45
35 | Single Family | Single Split AC w Furnace |  | RUUD | UGRA07EYBGS | 75
71.2 | Single Family | Multiple Splits w Furnaces | u | Lennox | G40 UH-48B-090X-15 | 88
27 | Single Family | Package Rooftop Unit |  | Bryant | 574 BNW 036060NB | 60
59 | Town House | Single Split AC w Furnace |  | Aire-Flo | AF 80MPA 075B3B | 75
56 | Single Family | Single Split AC w Furnace |  | Goodman | GHS 80905 CXBC210B2603AP | 90
17.2 | Single Family | Multiple Splits w Furnaces | s | Lennox | G40 UH-36A-070X-15 | 66
9 | Town House | Package Rooftop Unit |  | Carrier | 48 XPN 048 090 311 | 90
64 | Apartment | Single Split AC w Furnace |  | Weather King | 80 PJ 05 NAR 01 | 50
7 | Single Family | Single Split AC w Furnace |  | Goodman | GMS 80453 AXBC | 45
3 | Apartment | Combined Hydronic |  | First Company
22 | Town House | Package Rooftop Unit |  | York | DAYP-F 030 N 070 A | 70
40 | Apartment | Wall Furnace No Cooling
78 | Single Family | Single Split AC w Furnace |  | Weather King | 80 PJ 05 NAR 01 | 50
65 | Apartment | Combined Hydronic |  | First Company | 25 CDXQ | 23
13 | Town House | Package Rooftop Unit |  | Carrier | 48 XPN 048 090 311 | 90
63 | Apartment | Single Split AC w Furnace
72 | Town House | Single Split AC w Furnace |  | Weather King | 80PS07NER01 | 75
79.1 | Single Family | Multiple Splits w Furnaces | d | Aire-Flo | AF 80MPA 050B3B | 50
68 | Single Family | Single Split AC w Furnace |  | Weather King | 80 PJ 10 NDR01 | 100
42 | Apartment | Hydronic Floor No Cooling
24 | Single Family | Single Split AC w Furnace |  | Carrier | 58STX090-E-10116 | 88
66.1 | Single Family | Multiple Splits w Furnaces | L | Goodman | GMS 80905CXBA | 90
32 | Apartment | Combined Hydronic |  | Aspen | FWB 36 30+X2-000 | 26.5
36 | Single Family | Single Split AC w Furnace |  | Weather King | 9090TS07EFS01 | 75
11 | Town House | Single Split AC w Furnace |  | Weather King | 80 PJ 05 NAR 01 | 50
55 | Apartment | Heat Pump |  | First Company | 30HX5-240 | 47
62 | Single Family | Package Rooftop Heat Pump |  | York | B3HP 042 A06A | 42
50.2 | Single Family | Multiple Splits w Furnaces | L | Rheem | 80 PJ 05 NAR 01 | 50
6 | Town House | Single Split AC w Furnace |  | Carrier | 58MC060-12 (90+) | 60
30 | Apartment | Combined Hydronic |  | First Company | 24 UCQB | 32.4
67.1 | Single Family | Multiple Splits w Furnaces | u | Aire-Flo | AF 80MPA 050B3B | 50
10.2 | Single Family | Multiple Splits w Furnaces | d | Weather King | 80 PJ 10 NDR01 | 100
38 | Single Family | Single Split AC w Furnace |  | Lennox | G40 UH-48B-090X-14 | 88
8 | Single Family | Single Split AC w Furnace |  | Payne | PGJ8AA066110 | 105
73 | Single Family | Single Split AC w Furnace |  | Payne | PG8JAA036 070ADJA | 66
28 | Apartment | Combined Hydronic |  | First Company | 31 UCQB | 36.9
53 | Single Family | Single Split AC w Furnace |  | Aire-Flo | AF 80MPA 100B5B | 100
74 | Apartment | Single Split AC w Furnace |  | Goodman | GMH950453BXAB | 46
17.1 | Single Family | Multiple Splits w Furnaces | L | Lennox | G40 UH-36A-070X-15 | 66
71.1 | Single Family | Multiple Splits w Furnaces | d | Lennox | G40 UH-48B-090X-15 | 88
26 | Apartment | Combined Hydronic |  | First Company | 25 CDXQ | 23
15 | Single Family | Single Split AC w Furnace | b | Aire-Flo | AF 80MPA 100B5B | 100
80 | Single Family | Single Split AC w Furnace | b | Lennox | G40 UH-60C-110X-15 | 110
47 | Single Family | Single Split AC w Furnace | b | Tempstar | T9MPD 075F12C1 (DVSC 90+) | 75
31 | Single Family | Single Split AC w Furnace | b | York | LY8S 100 C20 UH 11C | 100
41 | Town House | Single Split AC w Furnace | b | Carrier | 58STX090-16 | 88
29 | Single Family | Single Split AC w Furnace | b | Lennox | G40 UH-48B-090X-15 | 88
49 | Town House | Single Split AC w Furnace | b | Carrier | 58STX090 | 88
16 | Single Family | Single Split AC w Furnace | b | Aire-Flo | AF 80MPA 100B5B | 100
39 | Town House | Heat Pump | b | York | F4FP 048 H06T2CA | 51.2
25 | Single Family | Single Split AC w Furnace | b | Weather King | 80 PJ 07 NAR 01 | 75
15 | Single Family | Single Split AC w Furnace | w
80 | Single Family | Single Split AC w Furnace | w
31 | Single Family | Single Split AC w Furnace | w | York | LY8S 100 C20 UH 11C | 100
29 | Single Family | Single Split AC w Furnace | w | Lennox | G40 UH-48B-090X-15 | 88
39 | Town House | Heat Pump | w | York | F4FP 048 H06T2CA | 51.2
47 | Single Family | Single Split AC w Furnace | w
25 | Single Family | Single Split AC w Furnace | w | Weather King | 80 PJ 07 NAR 01 | 75
49 | Town House | Single Split AC w Furnace | w
41 | Town House | Single Split AC w Furnace | w | Carrier | 58STX090-16 | 88
16 | Single Family | Single Split AC w Furnace | w